# Agriculture Project Preparation Form

For greenhouses, indoor farms, propagation, mushroom growing, post-harvest areas, seed storage and controlled agricultural environments.

How to use this form: Complete what is available. Estimated values are useful; unknown items may be left blank. We will only follow up on missing information that affects the next project decision.

# 01  Growing or processing environment

| Crop / product / process |  |
| --- | --- |
| Facility type | ☐ Greenhouse ☐ Indoor farm ☐ Propagation ☐ Mushroom ☐ Post-harvest ☐ Storage ☐ Other |
| Area / dimensions / volume | Length × width × height; list zones separately if needed |
| Location / outdoor conditions | Country, city and seasonal range |
| Day / night temperature |  |
| Current / target humidity |  |
| Lighting and crop cycle |  |

# 02  Moisture sources and air movement

| Irrigation method / schedule |  |
| --- | --- |
| Crop transpiration data | If available |
| Other water sources | Fogging, misting, wet pad, washdown or cleaning |
| Outdoor-air exchange | Ventilation, infiltration, doors and openings |
| Circulation fans / airflow |  |
| Existing climate equipment | Heating, cooling, ventilation or dehumidification |

# 03  Installation and control

| Preferred equipment location |  |
| --- | --- |
| Supply / return-air options |  |
| Power / drainage |  |
| Controls / sensors / connection | BMS, climate computer, Modbus or other |
| Special requirements | Noise, corrosion, hygiene, washdown or service access |

# 04  Project target

| Main issue | ☐ Night humidity ☐ Condensation ☐ Disease pressure ☐ Drying ☐ Storage ☐ Other |
| --- | --- |
| Most severe conditions | When and where does the problem occur? |
| How success will be checked |  |
| Quantity / rollout plan |  |
| Reference files | Drawings, photos, climate data or equipment list |

Review note  Area alone does not determine dehumidifier capacity. Crop load, ventilation, irrigation, temperature and operating cycle are reviewed together.